## Background
Langlier Saturation Index
A saturation index developed by Dr. Wilfred Langelier is widely used to predict the balance of swimming pool water. The Langelier Saturation index (LSI) is an equilibrium model derived from the theoretical concept of saturation and provides an indicator of the degree of saturation of water with respect to calcium carbonate. It can be shown that the Langelier saturation index (LSI) approximates the base 10 logarithm of the calcite saturation level. The Langelier saturation level approaches the concept of saturation using pH as a main variable. The LSI can be interpreted as the pH change required to bring water to equilibrium. It provides no indication of how much scale or calcium carbonate will actually precipitate to bring water to equilibrium.
Water with a Langelier saturation index of 1.0 is one pH unit above saturation. Reducing the pH by 1 unit will bring the water into equilibrium. This occurs because the portion of total alkalinity present as CO32- decreases as the pH decreases, according to the equilibriums describing the dissociation of carbonic acid:
Theoretically, a SI of zero indicates perfect water condition for swimming pools. If SI>0, scaling and staining of the water is present and if SI<0, the water is corrosive and highly irritating (the water will dissolve CaCO3). A tolerance of ±0.5 is normally acceptable. For most pools, water is balanced if the pH value is maintained within the recommended ranges of pH 7.2 - 7.6. If it is within the recommended range and the water is not balanced, the alkalinity is either too low or too high. Ideally the alkalinity should be maintained within a range of 80 - 125 ppm. The Langelier formula is expressed as:
Saturation Index = pH + Tempreature Factor + Calcium Factor + Alkalinity - 12.1
(S.I. = pH + TF +CF + AF - 12.1)
Test Results
1. A tolerance of +.5 to -.5 is acceptable for swimming pools
2. An S.I. of higher than +.5 indicates carbonate scale formation.
3. An S.I. of lower than -.5 indicates corrosive water.
Sample Calculation
S.I. = pH + TF + CF + AF - 12.1
S.I. = 7.4 + 78 + 50ppm + 50 ppm - 12.1
S.I. = 7.4 + 0.6 + 1.3 + 1.7 - 12.1
S.I. = 1.1 (indicates that the water in this pool is very corrosive)
To correct this probem, work with the numbers to come up with the correct chemical combination for your pool's conditions.
Corrective Measures
S.I. = 7.5 + 81 + 200 ppm + 100 ppm - 12.1
S.I. = 7.5 + 0.7 + 1.9 +2.0 -12.1
S.I. = 0 (Indicates that the water is in balance)
References:
http://www.hach.com/cs/video2.htm | Hach Learning Video Download Area
http://www.rainbowpoolsinc.com/help/langlier_index.htm | Rainbow Pools
http://www.co.hamilton.in.us/gov/health/langlier.htm | Hamilton County Indiana
http://www.corrosion-doctors.org/NaturalWaters/Langelier.htm
http://attila.stevens-tech.edu/~dvaccari/metals.html | David A. Vaccari, Ph.D., P.E.
http://www.sbcontrol.com/satur.htm | Chemtrol,TM
http://www.swimpool.com/hamiltonindex/ | United Chemical Corporation
http://www.hach.com/cs/knowledge_pdfs/LangelierIndices.pdf | Hach
http://www.goodnet.com/~jspsi/nspi_ab1.htm
http://wwwbrr.cr.usgs.gov/projects/GWC_coupled/phreeqc/ | PHREEQC hydrogeochemical modelling software
Abstracts from the 1st Annual NSPI "Sanitizer Chemistry" Symposium
John A. Wojtowicz
Chemcon
The Langelier Saturation Index – Overview and Update
It is a common misconception that the Langelier Saturation Index applies only to closed systems because it was developed for water in distribution lines. Since it based on calcium carbonate solubility equilibria, the Langelier Saturation Index is applicable to both open and closed systems containing dissolved calcium carbonate. The main difference is that in closed systems the alkalinity can vary at a given pH whereas in open systems alkalinity is fixed at a given pH. In addition, since alkalinities are much lower in open systems at comparable pH values, saturation hardness is much higher.
Another common misconception is that swimming pools are open systems. Although swimming pools are open in a physical sense, they are not open from a thermodynamic (i.e., chemical equilibrium) standpoint. Periodic acid addition for pH control replenishes lost carbon dioxide, preventing equilibration with the atmosphere. Indeed, swimming pools exhibit the characteristics of closed systems, showing the expected range and variability of alkalinity which is also typical of many public water supplies. If swimming pools were open systems (i.e., in equilibrium with atmospheric carbon dioxide), they would contain only 4 to 18 ppm alkalinity over the 7.2 to 7.8 pH range. At a given temperature, swimming pool water chemistry must be balanced by adjusting pH, alkalinity, and calcium hardness in order to maintain the proper saturation with respect to calcium carbonate to avoid corrosion of metallic surfaces, etching of tile grout and plaster, scaling, and cloudy water.
Water balance is determined by means of the “Calcium Carbonate Saturation Index” (SI), which was originally devised (Langelier 1936) to provide corrosion control for iron pipes in public water distribution systems by means of deposition of thin films of CaCO3. This paper discusses revisions to the Saturation Index equation due to more accurate values for the solubility product constant of calcium carbonate as a function of temperature and more realistic ionic strength corrections.

## Calculator
Langelier saturation index (LSI) calculator |  |  | This worksheet was created with Excel2000 and requires that the Analysis add-in be installed on your system. If this function is not available, run the Setup program to install the Analysis ToolPak. After you install the Analysis ToolPak, you must enable it by using Add-Ins on the Tools menu.
Date:
2001-11-23 11:00 |  | The factor is
pH: | 7.4
Temperature (F): | 103 | 0.8447
or |  | DegF: 103
Temperature (C):
Alkalinity (mg/L CaCO3) | 120 | 2.0857
Calcium hardness (mg/L CaCO3) | 200 | 1.8529
Your LSI is | 0.083208
Recommended action:
Your LSI is OK, see below
The concentration of CaCO3 complexes in your water appear to be OK
Your CaCO3 concentrations are adequate

## Conversions
Temperature (F) | TempFactor | Calcium (PPM CaCO3) | CalFactor | Alkalinity (PPM) | AlkFactor
32 | 0.1 | 5 | 0.3 | 5 | 0.7
37 | 0.1 | 25 | 0.1 | 25 | 1.4
46 | 0.2 | 50 | 1.3 | 50 | 1.7
53 | 0.3 | 75 | 1.5 | 75 | 1.9
60 | 0.4 | 100 | 1.6 | 100 | 2
66 | 0.5 | 150 | 1.8 | 150 | 2.2
76 | 0.6 | 200 | 1.9 | 200 | 2.3
84 | 0.7 | 300 | 2.1 | 300 | 2.5
94 | 0.8 | 400 | 2.2 | 400 | 2.6
105 | 0.9 | 800 | 2.5 | 800 | 2.9
128 | 1 | 1000 | 2.6 | 1000 | 3
y = 0.3944Ln(x) - 0.2553
y = 0.4943Ln(x) - 0.7661
[6 empty] | 2 | 0.018077 | -0.42348
[6 empty] | 25 | 1.0142 | 0.82499
[6 empty] | 50 | 1.2876 | 1.1676
[6 empty] | 200 | 1.8344 | 1.8529
[6 empty] | 400 | 2.1077 | 2.1955